## IIa CIVIL WORKS
ANNEX II (a)
BILL OF QUANTITIES - FINANCIAL OFFER FORM - CIVIL WORKS (UPDATE 06/02/2014)
OFFICE REFURBISHMENT AND INFRASTRUCTURE WORKS / ΈΡΓΑ ΑΝΑΚΑΙΝΙΣΗΣ ΚΑΙ ΥΠΟΔΟΜΗΣ ΓΡΑΦΕΙΟΥ
ENISA D-ASD-13-T21
Α/Α | DESCRIPTION | ΠΕΡΙΓΡΑΦΗ | MEASUREMENT UNIT / ΜΟΝΑΔΑ ΜΕΤΡΗΣΗΣ | UNIT PRICE / ΤΙΜΗ ΜΟΝΑΔΑΣ | QUANTITY / ΠΟΣΟΤΗΤΑ | TOTAL COST / ΣΥΝΟΛΙΚΟ ΚΟΣΤΟΣ
CIVIL WORKS FOR GROUND FLOOR / ΟΙΚΟΔΟΜΙΚΕΣ ΕΡΓΑΣΙΕΣ ΣΤΟ ΙΣΟΓΕΙΟ
A1. DEMOLITION -DISMANTLING / ΑΠΟΞΗΛΩΣΕΙΣ- ΚΑΘΑΙΡΕΣΕΙΣ
A1.01 | Demolition of brick walls | Καθαίρεση τοίχων οπτοπλινθοδομής | m2 |  | N/A
A1.02 | Dismantling of existing interior gypsum partitions | Αποξήλωση των υφιστάμενων εσωτερικών χωρισμάτων γυψοσανίδων | m2 |  | 170 | 0
A1.03 | Dismantling of false ceiling of common or wet resistant gypsum | Αποξήλωση ψευδοροφής γυψοσανίδας (απλής και ανθυγρής). | m2 |  | 250 | 0
A1.04 | Dismantling of existing single-leaf doors | Αποξήλωση των υφιστάμενων μονόφυλλων θυρών | pc./τεμ. |  | 10 | 0
A1.05 | Dismantling of the existing interior glass partitions. | Αποξήλωση των υάλινων χωρισμάτων. | m2 |  | N/A
A1.06 | Dismantling of sanitary and plumbing installation (wc area) | Αποξήλωση των ειδών υγιεινής και της υδραυλικής εγκατάστασης των WC | κ.α./whole task |  | 1 | 0
A1.07 | Dismantling of the existing kitchen equipment and furniture | Αποσυναρμολόγηση του υφιστάμενου εξοπλισμού κουζίνας και των ερμαρίων της. | κ.α./whole task |  | 1 | 0
A1.08 | Demolition of the existing ceramic tiles (wc area) | Αποξήλωση των υφιστάμενων κεραμικών πλακιδίων (περιοχή WC) | m2 |  | N/A
A1.09 | Demolition of the existing steel staircase | Αποξήλωση του υφιστάμενου μεταλλικού κλιμακοστασίου | κ.α./whole task |  | 1 | 0
A1.10 | Removal and proper disposal of the demolitions materials | Απομάκρυνση και την ορθή διάθεση των υλικών κατεδαφίσεων | κ.α./whole task |  | 1 | 0
A2. WALLS AND PARTITIONS / ΔΙΑΧΩΡΙΣΤΙΚΑ - ΤΟΙΧΟΙ
A2.01 | Partitions of simple two-sided plasterboards,with rockwool 50kg/m3 with a total thickness of 125mm(2 plasterboards + frames 7,5cm+2 plasterboards) | Χώρισμα απλής γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 125mm (2 γυψοσανίδες + ορθοστάτης 7,5cm + 2 γυψοσανίδες). | m2 |  | 216 | 0
A2.02 | Partitions of simple two-sided damp-proof plasterboards,with rockwool 50kg/m3 with a total thickness of 75mm(1 plasterboard + frames 5cm+1 plasterboard) | Χώρισμα ανθυγρής γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 75mm (1 γυψοσανίδα + ορθοστάτης 5cm + 1 γυψοσανίδα). | m2 |  | 19 | 0
A2.03 | Partitions of simple two-sided fire resistant plasterboards,with rockwool 50kg/m3 with a total thickness of 100mm(1 plasterboard + frames 7,5cm+1 plasterboard) | Χώρισμα πυράντοχης γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 100mm (1 γυψοσανίδα + ορθοστάτης 7,5cm + 1 γυψοσανίδα). | m2 |  | 7.5 | 0
A2.04 | Covering of built-in mechanism of toilet flusher with a cement-board (cement-board + frame 3cm) | Επένδυση εντοιχιζόμενου μηχανισμού καζανακίου, με τσιμεντοσανίδα (τσιμεντοσανίδα + ορθοστάτης 3cm) | pc./τεμ. |  | 4 | 0
A2.05 | Single glazed partitions, polished aluminium structure, H 235cm, profile H40mm, transparent glass 5+5mm,type Slimbox, company Estel | Προμήθεια και τοποθέτηση εσωτερικών διαχωριστικών με διαφανές κρύσταλλο 5+5mm, δομή αλουμινίου με γυαλιστερό φινίρισμα σε όλο το ύψος 235cm, προφίλ ύψους 40mm, ,τύπου Slimbox, εταιρεία Estel | m2 |  | 28 | 0
A3. SUSPENDED CEILINGS / ΨΕΥΔΟΡΟΦΕΣ
A3.01 | Supply and installation of gysum plasterboard ceiling. | Προμήθεια και τοποθέτηση νέας ψευδοροφής γυψοσανίδας. | m2 |  | 418 | 0
A3.02 | Supply and installation of elastic membrane, Barrisol type, a stretched back lighted ceiling, utilizing aluminium perimeter track and support framework. | Προμήθεια και τοποθέτηση ειδικής ελαστικής μεμβράνης, τύπου Barrisol η οποία στηρίζεται σε πλαίσιο αλουμινίου με οπίσθιο φωτισμό. | m2 |  | 19 | 0
A4. DOORS / ΚΟΥΦΩΜΑΤΑ
A4.01 | Supply and installation of wooden single leaf doors. | Προμήθεια και τοποθέτηση ξύλινων μονόφυλλων θυρών. | pc./τεμ. |  | 13 | 0
A4.02 | Supply and installation of single hinged door, without frame, transparent glass H 235cm,with walltech handle,type Slimbox, company Estel | Προμήθεια και τοποθέτηση υάλινης θύρας χωρίς πλαίσιο, διαφανές κρύσταλλο ύψους 235cm τύπου Slimbox, εταιρεία Estel | pc./τεμ. |  | 3 | 0
A4.03 | Supply and installation of fire resistant door 60' | Προμήθεια και τοποθέτηση πυράντοχης πόρτας 60' | pc./τεμ. |  | 1 | 0
A4.04 | Supply and installation of a door SAS 1 with 80% security glass WK3/FB3/BR3 | Προμήθεια και τοποθέτηση πόρτας SAS 1 με 80% γυαλί ασφαλείας WK3/FB3/BR3 | pc./τεμ. |  | 5 | 0
A5. FLOORING-TILING / ΔΑΠΕΔΑ - ΕΠΙΚΑΛΥΨΕΙΣ
A5.01 | Text tile floor covering , type Bolon | Βινυλικό δάπεδο, τύπου Bolon | m2 |  | 385 | 0
A5.02 | Layer of cement mortar in wc area | Στρώση τσιμεντοκονίας στους χώρους των wc | m2 |  | 45 | 0
A5.03 | Substrate of raised floor with MDF, 20mm thick | Υπόστρωμα υπερυψωμένου δαπέδου, πάχους 20mm | m2 |  | 10 | 0
A5.04 | Supply and installation of marble tiles, type Aliveri 60X60 & 60X120cm | Προμήθεια και τοποθέτηση νέων πλακιδίων από μάρμαρο τύπου Αλιβέρι 60X60 & 60X120cm | m2 |  | 45 | 0
A6. PAINTING / ΧΡΩΜΑΤΙΣΜΟΙ
A6.01 | New gypsum wall panels paintings | Χρωματισμοί στα νέα διαχωριστικά γυψοσανίδας | m2 |  | 235 | 0
A6.02 | Wall paintings refreshment | Φρεσκάρισμα υφιστάμενων βαμμένων τοίχων με πλαστικό χρώμα. | m2 |  | 138 | 0
A6.03 | New ceiling paintings (both faces and strips areas are included) | Χρωματισμοί νέας ψευδοροφής γυψοσανίδας | m2 |  | 418 | 0
A6.04 | Ceiling paintings refreshment | Φρεσκάρισμα υφιστάμενης ψευδοροφής με πλαστικό χρώμα. | m2 |  | 20 | 0
A6.05 | Painting wooden doors | Βαφή ξύλινων θυρών | pc./τεμ. |  | 13 | 0
A7. VARIOUS WORKS / ΔΙΑΦΟΡΕΣ ΚΑΤΑΣΚΕΥΕΣ
A7.01 | Manufacture and installation of the guard work desk , 3d wave marble covering, glass in 200cm height from the floor | Κατασκευή και τοποθέτηση επίπλου-πάγκου εργασίας στο χώρο των φυλάκων, 3d wave μάρμαρο πρόσοψης, κρύσταλλο σε ύψος 200cm από δάπεδο | pc./τεμ. |  | 1 | 0
A7.02 | Mettalworks: raised floor for the guards-marble covering support for guards desk-cover the staircase leading to the mezzanine | Μεταλλικές κατασκευές: υπερυψωμένο δάπεδο στους φύλακες- στήριξη της μαρμάρινης επένδυσης στο γραφείο του φύλακα - κλείσιμο της σκάλας που οδηγεί στο μεσοπάτωμα | Kgr/κιλά |  | 1000 | 0
A7.03 | Metal staircase | Μεταλλικό κλιμακοστάσιο | pc./τεμ. |  | 1 | 0
A7.04 | Supply and installation of natural moss wall tiles. | Προμήθεια και τοποθέτηση πλακιδίων από αληθινά φυτά-βρύα | m2 |  | 35 | 0
A7.05 | Manufacture and installation of kitchen - foyer (cabinets, sink, tap , bench) | Κατασκευή και τοποθέτηση επίπλων κουζίνας - foyer (ερμαρια- ράφια,νεροχύτης, πάγκος) | pc./τεμ. |  | 1 | 0
A7.06 | Manufacture and installation of a wooden, round and sloped coffee table painted in white ( diameter 110cm) | Κατασκευή και τοποθέτηση ξύλινου, στρόγγυλου και επικλινούς τραπεζιού,βαμμένο σε λευκό( διάμετρο 110cm) | pc./τεμ. |  | 1 | 0
A7.07 | Manufacture and installation of a marble table based on metal structure (foyer) 400*85*75h cm | Κατασκευή και τοποθέτηση μαρμάρινου τραπεζιού(foyer)400*85*75h cm, σε μεταλλική βάση | pc./τεμ. |  | 1 | 0
A7.08 | Manufacture and installation of wooden shelves made from oak | Κατασκευή και τοποθέτηση ξύλινων ραφιών από ξύλο Δρυός στο φυσικό του χρώμα | pc./τεμ. |  | 1 | 0
A7.09 | Supply and installation of countertop of two washbasins, type Marlux, model Belgio 2400, in white | Προμήθεια και εγκατάσταση πάγκου με ενσωματωμένους δύο νιπτήρες, τύπου Marlux, μοντέλο Belgio 2400, σε λευκό γυαλιστερό | pc./τεμ. |  | 2 | 0
A7.10 | Supply and installation of hung up toilet, , type ME, company Teuco | Προμήθεια και εγκατάσταση κρεμαστής λεκάνης, τύπου ME, τύπου Teuco | pc./τεμ. |  | 4 | 0
A7.11 | Supply and installation of washbasin mixer, chrome finish, type Hit, company Antonio Frattini | Προμήθεια και τοποθέτηση μπαταρίας νιπτήρα θερμομικτική, με φινίρισμα χρωμέ γυαλιστερό, τύπου Hit, τύπου Antonio Frattini | pc./τεμ. |  | 4 | 0
A7.12 | Supply and instalation of toilet for disabled,closed coupled, with close cover ,type Adatto casa. | Προμήθεια και εγκατάσταση λεκάνη χαμηλής πιέσεως Α.Μ.Ε.Α.,με απλό κάλλυμα, τύπου Adatto casa | pc./τεμ. |  | 1 | 0
A7.13 | Supply and installation of washbasin for disabled,type Adatto casa | Προμήθεια και τοποθέτηση νιπτήρα ΑΜΕΑ , τύπου Adatto casa | pc./τεμ. |  | 1 | 0
A7.14 | Supply and installation of washbasin mixer for disabled, chrome finish type Antonio Frattini | Προμήθεια και τοποθέτηση μπαταρίας νεροχύτη ΑΜΕΑ θερμομικτική, με φινίρισμα χρωμέ γυαλιστερό, τύπου Antonio Frattini | pc./τεμ. |  | 1 | 0
A7.15 | Supply and instalation of built-in toilet flusher with double board, matt colour ,type Geberit. | Καζανάκι εντοιχισμού, με πλακέτα διπλή, χρωμέ ματ, τύπου Geberit | pc./τεμ. |  | 4 | 0
| CIVIL WORKS ON GROUND FLOOR - SUBTOTAL / ΟΙΚΟΔΟΜΙΚΩΝ ΕΡΓΑΣΙΩΝ ΣΤΟ ΙΣΟΓΕΙΟ - ΜΕΡΙΚΟ ΣΥΝΟΛΟ |  |  |  |  | 0
CIVIL WORKS for 1st, 2nd FLOOR and MEZZANINE / ΟΙΚΟΔΟΜΙΚΕΣ ΕΡΓΑΣΙΕΣ στο 1Ο, 2Ο ΌΡΟΦΟ και ΜΕΣΟΠΑΤΩΜΑ.
B1. DEMOLITION - DISMANTLING / ΑΠΟΞΗΛΩΣΕΙΣ- ΚΑΘΑΙΡΕΣΕΙΣ
B1.01 | Demolition of brick walls | Καθαίρεση τοίχων οπτοπλινθοδομής | m2 |  | 2.5 | 0
B1.02 | Dismantling of existing interior gypsum partitions | Αποξήλωση των υφιστάμενων εσωτερικών χωρισμάτων γύψοσανίδων | m2 |  | 40 | 0
B1.03 | Dismantling of false ceiling of common or wet resistant gypsum | Αποξήλωση ψευδοροφής γυψοσανίδας (απλής και ανθυγρής). | m2 |  | N/A
B1.04 | Dismantling of existing single-leaf doors | Αποξήλωση των υφιστάμενων μονόφυλλων θυρών | pc./τεμ. |  | 7 | 0
B1.05 | Dismantling of the existing interior glass partitions. | Αποξήλωση των υάλινων χωρισμάτων. | m2 |  | 170 | 0
B1.06 | Dismantling of sanitary and plumbing installation (wc area) | Αποξήλωση των ειδών υγιεινής και της υδραυλικής εγκατάστασης των WC | κ.α./whole task |  | 1 | 0
B1.07 | Dismantling of the existing kitchen equipment and furniture | Αποσυναρμολόγηση του υφιστάμενου εξοπλισμού κουζίνας και των ερμαρίων της. | κ.α./whole task |  | 1 | 0
B1.08 | Dismantling and refiting of the fire resistant doors in their new position according to the plans. | Αποξήλωση και επανατοποθέτηση των πυράντοχων θυρών 0.90μ σε νέες θέσεις σύμφωνα με την μελετη. | pc./τεμ. |  | 2 | 0
B1.09 | Demolition of the existing ceramic tiles (wc area) | Αποξήλωση των υφιστάμενων κεραμικών πλακιδίων (περιοχή WC) | m2 |  | N/A
B1.10 | Removal and proper disposal of the demolitions materials | Απομάκρυνση και την ορθή διάθεση των υλικών κατεδαφίσεων | κ.α./whole task |  | 1 | 0
B2. WALLS AND PARTITIONS / ΔΙΑΧΩΡΙΣΤΙΚΑ - ΤΟΙΧΟΙ
B2.01 | Partitions of simple two-sided plasterboards,with rockwool 50kg/m3 with a total thickness of 125mm(2 plasterboards + frames 7,5cm+2 plasterboards) | Χώρισμα απλής γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 125mm (2 γυψοσανίδες + ορθοστάτης 7,5cm + 2 γυψοσανίδες). | m2 |  | 122 | 0
B2.02 | Partitions of simple two-sided damp-proof plasterboards,with rockwool 50kg/m3 with a total thickness of 75mm(1 plasterboard + frames 5cm+1 plasterboard) | Χώρισμα ανθυγρής γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 75mm (1 γυψοσανίδα + ορθοστάτης 5cm + 1 γυψοσανίδα). | m2 |  | 13 | 0
B2.03 | Partitions of simple two-sided fire resistant plasterboards,with rockwool 50kg/m3 with a total thickness of 100mm(1 plasterboard + frames 7,5cm+1 plasterboard) | Χώρισμα πυράντοχης γυψοσανίδας δύο όψεων,με πετροβάμβακα 50kgr/m3 συνολικού πάχους 100mm (1 γυψοσανίδα + ορθοστάτης 7,5cm + 1 γυψοσανίδα). | m2 |  | 43 | 0
B2.04 | Covering of built-in mechanism of toilet flusher with a cement-board (cement-board + frame 3cm) | Επένδυση εντοιχιζόμενου μηχανισμού καζανακίου, με τσιμεντοσανίδα (τσιμεντοσανίδα + ορθοστάτης 3cm) | pc./τεμ. |  | 4 | 0
B2.05 | Shaped melamine partitions in white whith transparent glass, polished aluminium structure, H 245cm, profile H40mm, type Engine, company Estel | Προμήθεια και τοποθέτηση εσωτερικών διαχωριστικών με λευκή μελαμίνη, δομή αλουμινίου με γυαλιστερό φινίρισμα σε όλο το ύψος 245cm, προφίλ ύψους 40mm, ,τύπου Engine, εταιρεία Estel | m2 |  | 19.5 | 0
B2.06 | Melamine partitions in white, polished aluminium structure, H 245cm, profile H40mm, type Slimbox, company Estel | Προμήθεια και τοποθέτηση εσωτερικών διαχωριστικών με λευκή μελαμίνη, δομή αλουμινίου με γυαλιστερό φινίρισμα σε όλο το ύψος 245cm, προφίλ ύψους 40mm, ,τύπου Slimbox, εταιρεία Estel | m2 |  | 425 | 0
B2.07 | Single glazed partitions, polished aluminium structure, H 245cm, profile H40mm, transparent glass 5+5mm, type Slimbox, company Estel | Προμήθεια και τοποθέτηση εσωτερικών διαχωριστικών με διαφανές κρύσταλλο 5+5mm, δομή αλουμινίου με γυαλιστερό φινίρισμα σε όλο το ύψος 24cm, προφίλ ύψους 40mm, ,τύπου Slimbox, εταιρεία Estel | m2 |  | 31 | 0
B3. SUSPENDED CEILING / ΨΕΥΔΟΡΟΦΕΣ
B3.01 | Supply and installation of gysum plasterboard ceiling. | Προμήθεια και τοποθέτηση νέας ψευδοροφής γυψοσανίδας. | m2 |  | 94 | 0
B4. DOORS / ΚΟΥΦΩΜΑΤΑ
B4.01 | Supply and installation of wooden single leaf doors. | Προμήθεια και τοποθέτηση ξύλινων μονόφυλλων θυρών. | pc./τεμ. |  | 9 | 0
B4.02 | Supply and installation of fire resistant door 60' | Προμήθεια και τοποθέτηση πυράντοχης πόρτας 60' | pc./τεμ. |  | 1 | 0
B4.03 | Supply and installation of single hinged door, without frame, white melamine,with walltech handle,type Engine, company Estel | Προμήθεια και τοποθέτηση πόρτας σε λευκή μελαμίνη, τύπου Engine, εταιρεία Estel | pc./τεμ. |  | 1 | 0
B4.04 | Supply and installation of single hinged door, without frame, transparent glass,with walltech handle,type Estel | Προμήθεια και τοποθέτηση υάλινης θύρας, τύπου Estel | pc./τεμ. |  | 21 | 0
B5. FLOORING-TILING / ΔΑΠΕΔΑ - ΕΠΙΚΑΛΥΨΕΙΣ
B5.01 | Replacement of damaged vinyl flooring | Αντικατάσταση πλακών υπερυψωμένου βινυλικού δαπέδου, που έχουν υποστεί ζημιές | m2 |  | 300 | 0
B5.02 | Layer of cement mortar in wc area | Στρώση τσιμεντοκονίας στους χώρους wc | m2 |  | 28 | 0
B5.03 | Supply and installation of carpet in light green, type Anker | Προμήθεια και τοποθέτηση μοκέτας τύπου Anker, σε ανοιχτό πράσινο χρώμα | m2 |  | 11 | 0
B5.04 | Supply and installation of MDF floor panels, 30mm thick | Προμήθεια και τοποθέτηση πάνελ MDF, πάχους 30mm | m2 |  | 86.48 | 0
B5.05 | Supply and installation of marble tiles 60X60 & 60X120Ccm, type Aliveri | Προμήθεια και τοποθέτηση νέων πλακιδίων 60X60 & 60X120cm από μάρμαρο τύπου Αλιβέρι | m2 |  | 56 | 0
B6. PAINTING / ΧΡΩΜΑΤΙΣΜΟΙ
B6.01 | New gypsum wall panels paintings | Χρωματισμοί στα νέα διαχωριστικά γυψοσανίδας | m2 |  | 143 | 0
B6.02 | Wall paintings refreshment | Φρεσκάρισμα υφιστάμενων βαμμένων τοίχων με πλαστικό χρώμα. | m2 |  | 245 | 0
B6.03 | New ceiling paintings (both faces and strips areas are included) | Χρωματισμοί νέας ψευδοροφής γυψοσανίδας | m2 |  | 94 | 0
B6.04 | Ceiling paintings refreshment | Φρεσκάρισμα υφιστάμενης ψευδοροφής με πλαστικό χρώμα. | m2 |  | 20 | 0
B6.05 | Painting wooden doors | Βαφή ξύλινων θυρών | pc./τεμ. |  | 9 | 0
B7. VARIOUS WORKS / ΔΙΑΦΟΡΕΣ ΚΑΤΑΣΚΕΥΕΣ
B7.01 | Supply and installation of new kitchen furniture, kitchenette, (cabinets, sink, bench,tap) , in white lacquered | Προμήθεια και τοποθέτηση επίπλου-πάγκου κουζίνας, kitchenette (ερμαρια,νεροχύτης, πάγκος,βρύση), σε λευκή λάκα | pc./τεμ. |  | 1 | 0
B7.02 | Meeting tables in open areas | Τραπέζια συνεδριάσεων στους ανοιχτούς χώρους συνάντησης | pc./τεμ. |  | 3 | 0
B7.03 | Supply and installation of new kitchen furniture (cabinets, sink, bench,tap) in white melamine, type Egger | Προμήθεια και τοποθέτηση επίπλων νέας κουζίνας (ερμαρια,νεροχύτης, πάγκος,βρύση) σε λευκή μελαμίνη, τύπου Egger | κ.α./whole task |  | 1 | 0 | 19
B7.04 | Supply and instalation of lightweight tensile structure, type Arka Synthesis | Διαχωριστικά από ελαφριά προεντεταμένη μεμβράνη,τύπου Arka Synthesis | pc./τεμ. |  | 1 | 0
B7.05 | Supply and installation of wall-hung mounted washbasin, type OM WALL 50 | Προμήθεια και εγκατάσταση επίτοιχου κρεμαστού νιπτήρα, τύπου OM WALL 50 | pc./τεμ. |  | 4 | 0
B7.06 | Supply and installation of hung up toilet, , type ME, company Teuco | Προμήθεια και εγκατάσταση κρεμαστής λεκάνης, τύπου ME, τύπου Teuco | pc./τεμ. |  | 4 | 0
B7.07 | Supply and installation of washbasin mixer, chrome finish, type Hit, company Antonio Frattini | Προμήθεια και τοποθέτηση μπαταρίας νιπτήρα θερμομικτική, με φινίρισμα χρωμέ γυαλιστερό, τύπου Hit, τύπου Antonio Frattini | pc./τεμ. |  | 4 | 0
B7.08 | Supply and instalation of built-in toilet flusher with double board, matt colour ,type Geberit. | Καζανάκι εντοιχισμού, με πλακέτα διπλή, χρωμέ ματ, τύπου Geberit | pc./τεμ. |  | 4 | 0
| CIVIL WORKS for 1st, 2nd FLOOR and MEZZANINE - SUBTOTAL / ΟΙΚΟΔΟΜΙΚΕΣ ΕΡΓΑΣΙΕΣ στο 1Ο, 2Ο ΌΡΟΦΟ και ΜΕΣΟΠΑΤΩΜΑ - ΜΕΡΙΚΟ ΣΥΝΟΛΟ |  |  |  |  | 0
|  | TOTAL - CIVIL WORKS / ΣΥΝΟΛΟ ΟΙΚΟΔΟΜΙΚΕΣ ΕΡΓΑΣΙΕΣ |  |  |  | 0
|  | Print name:………………………………………………………….. | Signature:…………………………………………….
(of the Tenderer or authorised representative)
Stamp of company

## IIb Electromechanical
ANNEX II (b)
BILL OF QUANTITIES - FINANCIAL OFFER FORM - ELECTROMECHANICAL WORKS (UPDATE 06/02/2014)
OFFICE REFURBISHMENT AND INFRASTRUCTURE WORKS / ΈΡΓΑ ΑΝΑΚΑΙΝΙΣΗΣ ΚΑΙ ΥΠΟΔΟΜΗΣ ΓΡΑΦΕΙΟΥ
ENISA D-ASD-13-T21
Α/Α | DESCRIPTION |  | MEASUREMENT UNIT / ΜΟΝΑΔΑ ΜΕΤΡΗΣΗΣ | UNIT PRICE / ΤΙΜΗ ΜΟΝΑΔΑΣ | QUANTITY / ΠΟΣΟΤΗΤΑ | TOTAL COST / ΣΥΝΟΛΙΚΟ ΚΟΣΤΟΣ
ELECTROMECHANICAL WORKS / ΗΛΕΚΤΡΟΜΗΧΑΝΟΛΟΓΙΚΕΣ ΕΡΓΑΣΙΕΣ
A. WATER SUPPLY
A.1 | Supply and Install pipe VPE 16 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | M |  | 155 | 0
A.2 | Supply and Install pipe VPE20 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | M |  | 8 | 0
A.3 | Supply and Install pipe VPE25 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | M |  | 10 | 0
A.4 | Supply and Install insulation of hot water pipe VPE 20 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | M |  | 4 | 0
A.5 | Supply and Install distribution manifold with 2 outlets as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
A.6 | Supply and Install distribution manifold with 4 outlets as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
A.7 | Supply and Install distribution manifold with 5 outlets as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
A.8 | Supply and Install distribution manifold with 10 outlets as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
A.9 | Supply and Install 10ltr Water Heater as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
A.10 | Supply and Install 40ltr Water Heater as specified in Technical Specifications including all valves, materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
A.11 | Install WC faucets including all materials, fittings, labour, commissioning etc |  | ITEM |  | 6 | 0
A.12 | Install Kitchen faucets including all materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
A.13 | Install WC flushs including all materials, fittings, labour, commissioning etc |  | ITEM |  | 8 | 0
B. DRAINAGE
B.1 | Supply and Install pipe PP 40 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | ITEM |  | 70 | 0
B.2 | Supply and Install pipe PP 50 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | ITEM |  | 20 | 0
B.3 | Supply and Install pipe PP 110 as specified in Technical Specifications including all materials, fittings, labour, commissioning etc |  | ITEM |  | 15 | 0
B.4 | Install kitchen sink including all materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
B.5 | Install WC Toilet and Flush including all materials, fittings, labour, commissioning etc |  | ITEM |  | 8 | 0
B.6 | Install Washbasin including all materials, fittings, labour, commissioning etc |  | ITEM |  | 6 | 0
B.7 | Install WC accessories including all materials, fittings, labour, commissioning etc |  | ITEM |  | 24 | 0
C. HEATING-VENTILATION-AIR CONDITIONING (HVAC)
C.1 | Maintain existing indoor fan coil unit, including all required cleaning materials, fittings, labour, commissioning, testing etc. |  | ITEM |  | 94 | 0
C.2 | Relocate existing indoor fan coil unit, including all required piping and cabling modifications, fittings, labour, commissioning, testing etc. |  | ITEM |  | 37 | 0
C.3 | Supply and Install new floor standing fan coil unit Qtc=4.5kw Qh=11,7kW as specified in Technical Specifications chapter including piping and cabling connection, all materials, fittings, labour, commissioning, testing etc |  | ITEM |  | 3 | 0
C.4 | Supply and Install new floor standing fan coil unit Qtc=6.8kw Qh=13,4kW as specified in Technical Specifications chapter including piping and cabling connection, all materials, fittings, labour, commissioning, testing etc |  | ITEM |  | 1 | 0
C.5 | Supply and Install φ100 flexible insulated duct as specified in Technical Specifications chapter including all materials, fittings, labour, commissioning etc |  | M |  | 25 | 0
C.6 | Supply and Install ceiling discvalve Φ100, as specified in Technical Specifications chapter including all materials, fittings, labour, commissioning etc |  | ITEM |  | 9 | 0
C.7 | Supply and Install fan coil actuator for HVAC Zoning as specified in Technical Specifications chapter including all materials, fittings, labour, commissioning etc |  | ITEM |  | 188 | 0
C.8 | Supply and Install fan coil Control for HVAC Zoning as specified in Technical Specifications chapter including all materials, fittings, labour, commissioning etc |  | ITEM |  | 50 | 0
C.9 | Regulate existing ventilation system according to HVAC requirements including all materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
D. FIRE PROTECTION
D.1 | Supply and Install cabling for one Fire Detector including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 85 | 0
D.2 | Supply and Install cabling for one Fire Alarm Button including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 5 | 0
D.3 | Supply and Install cabling for one Fire Alarm Siren including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
D.4 | Supply and Install cabling for one Egress Button including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
D.5 | Supply and Install Fire Detector including materials, fittings, labour, commissioning etc |  | ITEM |  | 85 | 0
D.6 | Supply and Install Fire Alarm Button including materials, fittings, labour, commissioning etc |  | ITEM |  | 5 | 0
D.7 | Supply and Install Fire Alarm Siren including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
D.8 | Supply and Install Egress Button including materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
D.9 | Supply and Install one Portable Fire Extinguisher Dry Chemical 6kgr including all materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
D.10 | Supply and Install one Portable Fire Extinguisher CO2 5kgr including all materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
D.11 | Maintain and Install one Existing Portable Fire Extinguisher Dry Chemical 6kgr including all materials, fittings, labour, commissioning etc |  | ITEM |  | 15 | 0
E. ELECTRICAL │ POWER SUPPLY - LIGHTING
E.1 | Supply and Install cabling for one lighting fixture direct from distribution board including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 37 | 0
E.2 | Supply and Install cabling for one lighting fixture from a previous lighting fixture or junction box including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 606 | 0
E.3 | Supply and Install cabling for one power socket (wall mounted) direct from distribution board including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 12 | 0
E.4 | Supply and Install cabling for one power socket (wall mounted) from a previous power socket (wall mounted) or junction box including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 76 | 0
E.5 | Supply and Install cabling for one power socket (inside floorbox) direct from distribution board including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 10 | 0
E.6 | Supply and Install cabling for one power socket (inside floorbox) from a previous power socket (inside floorbox) or junction box including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 232 | 0
E.7 | Supply and Install cabling for one Commando power socket direct from distribution board including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 6 | 0
E.8 | Supply and Install cabling for one Commando power socket from a previous Commando power socket or junction box including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 12 | 0
E.9 | Supply and Install cabling for one power socket for FCU direct from distribution board including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 5 | 0
E.10 | Supply and Install cabling for one power socket for FCU from a previous power socket for FCU or junction box including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 93 | 0
E.11 | Supply and Install cabling for one blind or shutter or projector screen including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.12 | Supply and Install cabling for one water heater including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.13 | Supply and Install power cabling for Access control panel including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.14 | Supply and Install power cabling for CCTV system including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.15 | Supply and Install cabling for Security panel including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.16 | Supply and Install cabling for X-RAY machine including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.17 | Supply and Install cabling for Metal detector including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.18 | Supply and Install cabling for Speed lane including all cables pipes conduits, switches, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
E.19 | Supply and Install power cable H05VV-U 3G1.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.20 | Supply and Install power cable H05VV-U 3G2.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.21 | Supply and Install power cable H05VV-U 3G4 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.22 | Supply and Install power cable H05VV-U 3G6 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.23 | Supply and Install power cable J1VV-U 3G1.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.24 | Supply and Install power cable J1VV-U 3G2.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.25 | Supply and Install power cable J1VV-U 3G6 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.26 | Supply and Install power cable J1VV-U 5G1.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.27 | Supply and Install power cable J1VV-U 5G2.5 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.28 | Supply and Install power cable J1VV-U 5G6 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.29 | Supply and Install power cable J1VV-R 5G10 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.30 | Supply and Install power cable J1VV-R 5G16 including materials, fittings, labour, commissioning etc |  | M |  | 0 | 0
E.31 | Modify existing power cable for Ground floor distribution board ΠΦ-ΙΣΟΓ.Α including materials, fittings, labour, commissioning etc (if required) |  | ITEM |  | 1 | 0
E.32 | Modify existing power cable for Ground floor distribution board ΠΦA-ΙΣΟΓ.Α including materials, fittings, labour, commissioning etc (if required) |  | ITEM |  | 1 | 0
E.33 | Supply and Install power socket (wall mounted) including materials, fittings, labour, commissioning etc |  | ITEM |  | 110 | 0
E.34 | Supply and Install UPS power socket (wall mounted) including materials, fittings, labour, commissioning etc |  | ITEM |  | 10 | 0
E.35 | Supply and Install power socket (inside floorbox) including materials, fittings, labour, commissioning etc |  | ITEM |  | 23 | 0
E.36 | Supply and Install UPS power socket (inside floorbox) including materials, fittings, labour, commissioning etc |  | ITEM |  | 56 | 0
E.37 | Supply and Install Commando power socket including materials, fittings, labour, commissioning etc |  | ITEM |  | 18 | 0
E.38 | Supply and Install switch or button or motion detector including materials, fittings, labour, commissioning etc |  | ITEM |  | 162 | 0
E.39 | Relocate existing floorbox including materials, fittings, labour, commissioning etc (cabling not included) |  | ITEM |  | 62 | 0
E.40 | Supply and Install floorbox type ''F'' unit including four (4) UPS sockets, four (4) voice-data outlets RJ45, AV equipment, materials, fittings, labour, commissioning etc (cabling not included) |  | ITEM |  | 6 | 0
E.41 | Supply and Install aluminium raceway including materials, fittings, labour, commissioning etc |  | M |  | 5 | 0
E.42 | Relocate and re-wire if required existing Recessed Lighting Fixture with fluorescent lamps 3x18W or 2x58W including materials, fittings, labour, commissioning etc |  | ITEM |  | 296 | 0
E.43 | Relocate and re-wire if required existing Recessed Lighting Fixture (spot) including materials, fittings, labour, commissioning etc |  | ITEM |  | 12 | 0
E.44 | Relocate and re-wire if required existing Recessed Lighting Fixture with fluorescent lamps PL 2x18W including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.45 | Relocate and re-wire if required existing Existing Ceiling Lighting Fixture including materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
E.46 | Relocate and re-wire if required existing Existing Exit Light including materials, fittings, labour, commissioning etc |  | ITEM |  | 19 | 0
E.47 | Supply and install 2U Profile R-O White DIL840047 6x21-39W Down+PC O SLS DIL811471 OSHO 39W/830-230V L=540cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.48 | Supply and install 2U Profile R-H White DIL840047 4x21-39W Down+PC H SLS DIL811470 OSHO 39W/830-230V L=360cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.49 | Supply and install 2U Profile R-H White DIL840047 2x28-54W Down+PC H SLS DIL811670 OSHO 54W/830-230V L=240cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
E.50 | Supply and install 2U Profile S-ANO DIL840047 4x21-39W Down 1xDIL811400 G5-T16-2x39W-EVG 230V L=360cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
E.51 | Supply and install 2U Profile C-ANO DIL810012 1x35-49W Down 1xDIL810800 G5-T16-49W-EVG 230V L=150cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 16 | 0
E.52 | Supply and install 2U Profile C-ANO DIL810012 1x28-54W Down 1xDIL810600 G5-T16-54W-EVG 230V L=120cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 5 | 0
E.53 | Supply and install 2U Profile S-ANO DIL810012 1x35-49W Down 1xDIL810800 G5-T16-49W-EVG 230V L=150cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 32 | 0
E.54 | Supply and install PIU ALTO 3D FLAT White OC1D8068BCB LED 18W-2700K OC618509527 DRIVER 47V-500mA OC6Z1850 including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.55 | Supply and install PIU SOSPESO OC1E215EBB LED 26W-2700K OC6269527D, LED 18W-2700K OC618509527 including materials, fittings, labour, commissioning etc |  | ITEM |  | 6 | 0
E.56 | Supply and install S82 TRIMLESS White MOL8-33807 GU5,3-QR-C51- 1x50W-12V M/S12V/60WVI including materials, fittings, labour, commissioning etc |  | ITEM |  | 81 | 0
E.57 | Supply and install SOFFITTO SINGOLO OC6P1200C SENTO E OC6K0075C 2xLED-13W-2700K-OC618509527 including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.58 | Supply and install FLEXIBLE LED GOLD WARM WHITE N05011100511WD5A NOEL 24W-12V-DC-NO8995200000 ALU PROFILE N05011146702 including materials, fittings, labour, commissioning etc |  | M |  | 133 | 0
E.59 | Supply and install COSTANZA LPL1D13GSDH0020 WHITE SHADE, SENSOR DIMMER E27-QT32-3x MAX 100W-230V including materials, fittings, labour, commissioning etc |  | ITEM |  | 2 | 0
E.60 | Supply and install COSTANZA LPL1D13NSDA20020 WHITE SHADE, LPL1D1300GNT002 E27-QT32-1x MAX 150W-230V including materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
E.61 | Supply and install ECLIPS HIT WHITE DIL428188 G12-HIT-70W SIENHCI70WEL including materials, fittings, labour, commissioning etc |  | ITEM |  | 26 | 0
E.62 | Supply and install ECLIPS PLUS QR111 DIL428187 G53-QR-LP111IRC-1x MAX 100W-12V M/S 12V/100WES including materials, fittings, labour, commissioning etc |  | ITEM |  | 15 | 0
E.63 | Supply and install GEENO MINI OBO ANO DIL369182 TUDE DIL366308 SMD LCD 1x0.75W-12V-50Hz-BLUE CONVERTER DIL40024 including materials, fittings, labour, commissioning etc |  | ITEM |  | 8 | 0
E.64 | Supply and install 4U PROFILE DIL809247 G5 2x49W including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.65 | Supply and install CAVE R SINGLE WARM WHITE DIL844027 PLASTERKIT DIL844090 LED 1x1W-230V including materials, fittings, labour, commissioning etc |  | ITEM |  | 7 | 0
E.66 | Supply and install 1U PROFILE WHITE DIL952947 LED 3000K 19.2W/m-24V DIL952200 SPRING MOUNTING DIL952905 STRAIGHT CONNECTOR DIL952060 L=400cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.67 | Supply and install VISIBLE II HV WHITE MOL305-1440W GU10-1x LED5,2W/930-230V including materials, fittings, labour, commissioning etc |  | ITEM |  | 22 | 0
E.68 | Supply and install 2U Profile R-H White DIL840047 1x35-49W Down+PC H DIL810860 G5-T16-49W-EVG 230V L=150cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
E.69 | Supply and install 2U Profile R-H White DIL840047 2x21-39W Down+PC H SLS DIL811470 OSHO 39W/830 230V SLS L=180cm including materials, fittings, labour, commissioning etc |  | ITEM |  | 10 | 0
E.70 | Supply and install THOR TWIN HIPAR111 White Gx8.5-HI PAR111-2x35W 230V including materials, fittings, labour, commissioning etc |  | ITEM |  | 6 | 0
E.71 | Supply and install THOR White DIL318327 LED 3000K including materials, fittings, labour, commissioning etc |  | ITEM |  | 5 | 0
E.72 | Supply and install GEENA DIL182087 SMD LED 1x0.75W-12V DC CONVERTERS DIL40024 including materials, fittings, labour, commissioning etc |  | ITEM |  | 22 | 0
E.73 | Supply and install Exit Light including materials, fittings, labour, commissioning etc |  | ITEM |  | 13 | 0
E.74 | Install Water Heater including materials, fittings, labour, commissioning etc |  | ITEM |  | 4 | 0
E.75 | Supply and Install Ground floor electrical distribution panel including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.76 | Modify Mezannine floor electrical distribution panel including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.77 | Modify 1st floor electrical distribution panel including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.78 | Modify 2nd floor electrical distribution panel including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.79 | Modify Computer room electrical distribution panel including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
E.80 | Supply and Install cabling for new HVAC zoning including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F. ELECTRICAL │ LOW VOLTAGE
F.1 | Supply and Install cabling for one Cat 5e Voice Data Outlet or WF point including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 214 | 0
F.2 | Supply and Install cabling for one TV Outlet including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 8 | 0
F.3 | Supply and Install cabling for AV installation for one meeting room including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 3 | 0
F.4 | Supply and Install cabling for AV installation for the Auditorium including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.5 | Supply and Install cabling for Ground Floor Meeting room's AV interconnection incl all cables pipes conduits, irrespective of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.6 | Supply and Install cabling for one Access Control point including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 16 | 0
F.7 | Supply and Install cabling for one CCTV Camera including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 7 | 0
F.8 | Supply and Install cabling for one Motion Detector-Radar including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 21 | 0
F.9 | Supply and Install cabling for one keypad including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.10 | Supply and Install cabling for one Door, Window Contact including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 122 | 0
F.11 | Supply and Install cabling for one Indoor Alarm Siren including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.12 | Supply and Install cabling for one Outdoor Alarm Siren including all cables pipes conduits, irrespectively of cable length and including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.13 | Supply and Install Cat 5e Voice -Data outlet (wall mounted) including materials, fittings, labour, commissioning etc |  | ITEM |  | 19 | 0
F.14 | Supply and Install Cat 5e Voice -Data outlet (inside floor box) including materials, fittings, labour, commissioning etc |  | ITEM |  | 84 | 0
F.15 | Supply and Install WF outlet including materials, fittings, labour, commissioning etc |  | ITEM |  | 9 | 0
F.16 | Modify Mezannine Rack including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.17 | Modify 1st floor Racks including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.18 | Modify 2nd floor Rack including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
F.19 | Supply and Install TV outlet including materials, fittings, labour, commissioning etc |  | ITEM |  | 8 | 0
F.20 | Supply and Install TV equpment (splitters, tap-offs etc)) including materials, fittings, labour, commissioning etc |  | ITEM |  | 1 | 0
G. SECURITY SYSTEMS
G.1 | Supply and Install Intruder Alarm System (IAS) including materials (panels, detectors, contacts, keypads e.a.) fittings, labour, software, commissioning etc |  | ITEM |  | 1 | 0
G.2 | Supply and Install Access Control System (ACS) including materials (panels, modules, buttons, cardreaders e.a.) fittings, labour, software, commissioning etc |  | ITEM |  | 1 | 0
G.3 | Supply and Install CCTV System including materials (cameras, decoders, monitors e.a.) fittings, labour, software, commissioning etc |  | ITEM |  | 1 | 0
|  | TOTAL - ELECTROMECHANICAL WORKS / ΣΥΝΟΛΟ ΗΛΕΚΤΡΟΜΗΧΑΝΟΛΟΓΙΚΕΣ ΕΡΓΑΣΙΕΣ |  |  |  | 0
|  | Print name:………………………………………………………….. | Signature:…………………………………………….
(of the Tenderer or authorised representative)
Stamp of company

## TOTALS IIa and IIb
TOTALS for ANNEX II (a) and II(b)
BILL OF QUANTITIES - FINANCIAL OFFER FORM
OFFICE REFURBISHMENT AND INFRASTRUCTURE WORKS
ΈΡΓΑ ΑΝΑΚΑΙΝΙΣΗΣ ΚΑΙ ΥΠΟΔΟΜΗΣ ΓΡΑΦΕΙΟΥ
ENISA D-ASD-13-T21
DESCRIPTION | SUB TOTALS
CIVIL WORKS ON GROUND FLOOR | 0
CIVIL WORKS for 1st, 2nd FLOOR and MEZZANINE | 0
ELECTROMECHANICAL WORKS | 0
TOTAL REFURBISHMENT WORKS | 0
Please note that the 'TOTAL REFURBISHMENT WORKS' cannot be more than €480.000,00
Print name:………………………………………………………….. | Signature:…………………………………………….
(of the Tenderer or authorised representative)
Stamp of company